| LESSON PLAN |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Faculty |  | : SH. SOHAN SHARMA |  |  |  |
| Discipline |  | : ELECTRICAL ENGINEERING |  |  |  |
| Semester |  | : 3rd |  |  |  |
| Subject |  | : ECEE |  |  |  |
| Duration |  | : WEEKS(From Sept.2022) |  |  |  |
| Work Load (Lecture) per week (in hours) |  | : Theory- 04; Practical:02 |  |  |  |
| Week | Theory |  |  |  |  |
|  | Lecture Day | Topic |  |  |  |
| 1st | 1st | Introduction to the subject and the marks distribution |  | Introduction to the subject and the marks distribution |  |
|  | 2nd | Purpose of estimating and costing, Performa for making estimates |  |  |  |
|  | 3rd | Preparation of materials schedule, |  |  |  |
|  | 4th | costing, price list, preparation of tender document (with 2-3 exercises), |  |  |  |
| 2nd | 1st | net price list, market survey, overhead charges, labour charges, |  | Framing of Tender and reply to tender to get job/project |  |
|  | 2nd | electrical point method and fixed percentage method, contingency, |  |  |  |
|  | 3rd | profit, purchase system, enquiries, comparative statements, orders for supply, payment of bills |  |  |  |
|  | 4th | Test of Chapter No. 01 |  |  |  |
| 3rd | 1st | Cleat, batten, casing capping and conduit wiring, |  | Continued |  |
|  | 2nd | comparison of different wiring systems, selection and design of wiring schemes for particular situation (domestic and Industrial). |  |  |  |
|  | 3rd | Selection of wires and cables, wiring accessories |  |  |  |
|  | 4th | Use of protective devices i.e. MCB, ELCB etc. Use of wire-gauge and tables ( to be prepared/arranged) |  |  |  |
| 4th | 1st | Continued |  | Identification of wiring for different applications |  |
|  | 2nd | Test of Chapter No. 02 |  |  |  |
|  | 3rd | Domestic installations; standard practice as per IS and IE rules. |  |  |  |
|  | 4th | Planning of circuits, sub-circuits and position of different accessories, electrical layout, |  |  |  |
| 5th | 1st | preparing estimates including cost as per schedule rate pattern and actual market rate (single storey and multi-storey buildings having similar electrical load) |  | Continued |  |
|  | 2nd | Quiz No. 01 and assignment no. 01 |  |  |  |
|  | 3rd | Test of Chapter No. 3.1 |  |  |  |
|  | 4th | Industrial installations; relevant IE rules and IS standard practices, planning |  |  |  |
| 6th | 1st | designing and estimation of installation for single phase motors of different ratings, electrical circuit diagram, starters |  | Quiz No. 01 and Viva Voce |  |
|  | 2nd | , preparation of list of materials, estimating and costing exercises on workshop with singe-phase, 3-phase motor load and the light load (3-phase supply system) |  |  |  |
|  | 3rd | Test of Chapter No. 3.2 |  |  |  |
|  | 4th | Service line connections estimate for domestic and industrial loads (over-head and under ground connections) from pole to energy meter. |  |  |  |
| 7th | 1st | Continued |  | Prepare an estimate for a Two room residential building as per given plan |  |
|  | 2nd | Continued |  |  |  |
|  | 3rd | Test of Chapter No. 3.3 |  |  |  |
|  | 4th |  | Transmission and distribution lines (overhead and underground) |  |  |
| 8th | 1st |  | planning and designing of lines with different fixtures, earthing etc. based on unit cost calculations |  | Continued |
|  | 2nd |  | Continued |  |  |
|  | 3rd |  | Test of Chapter No. 4.1 |  |  |
|  | 4th |  | Substation: Types of substations, |  |  |
| 9th | 1st |  | substation schemes and components |  | Prepare an estimate for service connection for residential building having connected load ---- kW. |
|  | 2nd |  | Estimate of 11/0.4 kV pole mounted substation up to 200 kVA rating, earthing of substations, |  |  |
|  | 3rd |  | Key Diagram of 66 kV/11 kV Substation |  |  |
|  | 4th |  | Test of Chapter No. 4.2 |  |  |
| 10th | 1st |  | Single line diagram, layout sketching of outdoor, indoor 11kV sub-station |  | Continued |
|  | 2nd |  | Continued |  |  |
|  | 3rd |  | Single line diagram, layout sketching of outdoor, indoor 33kV sub-station |  |  |
|  | 4th |  | Continued |  |  |
| 11th | 1st |  | Test of Chapter No. 4.3 |  | Quiz No. 02 and Viva Voce |
|  | 2nd |  | Quiz No. 02 and Assignment no. 02 |  |  |
|  | 3rd |  | Exercise: tender – constituents finalization, specimen tender |  |  |
|  | 4th |  | Continued |  |  |
| 12th | 1st |  | Continued |  | Visit a nearby substation and list the components with diagram |
|  | 2nd |  | Continued |  |  |
|  | 3rd |  | Test of Chapter no. 05 |  |  |
|  | 4th |  | Quiz No. 03 and Assignment no. 03 |  |  |
| 13th | 1st |  | Revision test of Chapter No. 01 |  | Continued |
|  | 2nd |  | Revision test of Chapter No. 02 |  |  |
|  | 3rd |  | Revision test of Chapter No. 3.1 |  |  |
|  | 4th |  | Revision test of Chapter No. 3.2 |  |  |
| 14th |  |  | Revision test of Chapter No. 3.3 |  | Internal assessment and Viva Voce |
|  | 2nd |  | Revision test of Chapter No. 4.1 |  |  |
|  | 3rd |  | Revision test of Chapter No. 4.2 |  |  |
|  | 4th |  | Revision test of Chapter No. 4.3 |  |  |
| 15th | 1st |  | Revision test of Chapter No. 5 |  | Internal assessment and Viva Voce |
|  | 2nd |  | Revision test |  |  |
|  | 3rd |  | Revision test |  |  |
|  | 4th |  | Revision test |  |  |