| Name of the Faculty: Sh. Pardeep Kumar Discipline : Electrical Engineering Semester : 5th Subject : Electrical Machines-II Duration : 15 weeks(from Sept. 2022) Work load (Lecture/Practical) per week (in Hours):Lecture-04,Practical -02 |  |  |  |
| --- | --- | --- | --- |
| Week | Day | Topic | Practical |
| 1 | 1 | Introduction Of The Subject, Its Need, Applications | G1-Determination of efficiency (a) no load test and blocked rotor test on an induction motor (b) direct loading of an induction motor. |
|  | 2 | Introduction of Three Phase Induction Motor | G2-Determination of efficiency (a) no load test and blocked rotor test on an induction motor (b) direct loading of an induction motor. |
|  | 3 | Silent constructional features of Squirrel cage Three Phase Induction Motor |  |
|  | 4 | Silent constructional features of Slip Ring Three Phase Induction Motor |  |
| 2 | 5 | Principal of Operation | G1-Determination of effect of rotor resistance on torque speed curve of an induction motor. |
|  | 6 | Slip and its Significance | G2-Determination of effect of rotor resistance on torque speed curve of an induction motor. |
|  | 7 | Locking of rotor and stator fields |  |
|  | 8 | Rotor resistance and inductance |  |
| 3 | 9 | EMF and Current | G1-Observe the performance of a ceiling fan without capacitor Determine the effect of change in capacitor on the performance of 1-phase induction motor and reverse the direction of motor. |
|  | 10 | Relationship between rotor copper losses , slip and rotor input power | G2-Observe the performance of a ceiling fan without capacitor Determine the effect of change in capacitor on the performance of 1-phase induction motor and reverse the direction of motor. |
|  | 11 | Power flow diagram of a Induction Motor |  |
|  | 12 | Factors determining the torque |  |
| 4 | 13 | Torque slip Curve, stable and unstable zones | G1-To plot relationship between no load terminal voltage and excitation current in a synchronous generator at constant speed. |
|  | 14 | Effect of rotor resistance upon the Torque slip Curve | G2-To plot relationship between no load terminal voltage and excitation current in a synchronous generator at constant speed. |
|  | 15 | Double cage rotor motor and its applications |  |
|  | 16 | Starting of Three Phase Induction Motor |  |
| 5 | 17 | DOL,Star-delta and Auto transformer | G1-Determination of the relationship between the voltage and load current of an Alternator, keeping excitation and speed constant. |
|  | 18 | Causes of Low power factor of induction motors | G2-Determination of the relationship between the voltage and load current of an Alternator, keeping excitation and speed constant. |
|  | 19 | Testing of Three Phase Induction Motor |  |
|  | 20 | No-Load and Blocked rotor test |  |
| 6 | 21 | Efficiency of Three Phase Induction Motor | G1-To find the efficiency and regulation of Alternator from open & short circuit. Test. |
|  | 22 | Method of speed control of Three Phase Induction Motor | G2-To find the efficiency and regulation of Alternator from open & short circuit. Test. |
|  | 23 | Harmonics and its effect |  |
|  | 24 | Cogging and crawling in Induction Motors |  |
| 7 | 25 | Specifications and ratings of Three Phase Induction Motor | G1-Determination of the effect of variation of excitation on performance of a synchronous Motor. |
|  | 26 | Introduction of Single phase Induction Motor | G2-Determination of the effect of variation of excitation on performance of a synchronous Motor. |
|  | 27 | Construction, characteristics and specifications |  |
|  | 28 | Applications of Single phase Induction Motor |  |
| 8 | 29 | Nature of field produced in Single phase Induction Motor -Double field revolving theory | Copy Checking |
|  | 30 | Split phase induction Motors |  |
|  | 31 | Capacitor start, Capacitor Run and Capacitor Start and Run Motors, Shaded Pole Motors |  |
|  | 32 | Alternating current series motors and universal Motors- Construction, working principle, operation and applications |  |
| 9 | 33 | Single phase Synchronous Motors | Copy checking |
|  | 34 | Reluctance Motor |  |
|  | 35 | Hysteresis Motor |  |
|  | 36 | Introduction of Synchronous Machines |  |
| 10 | 37 | Main Constructional features of Synchronous Machines | Copy checking |
|  | 38 | Production of Rotating magnetic fields in three phase windings |  |
|  | 39 | Generation of Three phase EMF |  |
|  | 40 | Concept of Distribution factor and coil Span factor and EMF equation |  |
| 11 | 41 | Armature Reaction at unity, lag and lead Power factor | G1-Revison of 1st Practical |
|  | 42 | Equivalent Circuit diagram of Synchronous Machines | G2-Revison of 1st Practical |
|  | 43 | Concept of voltage regulation |  |
|  | 44 | Determination of Voltage regulation by Synchronous Impedance Method |  |
| 12 | 45 | Operation of single Synchronous Machine independently supplying a load | G1-Revison of 2nd & 3rd Practical |
|  | 46 | Concept of infinite bus bar | G2-Revison of 2nd & 3rd Practical |
|  | 47 | Need and necessary conditions of parallel operation of alternators |  |
|  | 48 | Synchronizing an Alternator with bus bars. |  |
| 13 | 49 | Operation of Synchronous Machines as a Motor-its starting methods | G1-Revison of 4th Practical |
|  | 50 | Effect of change in Excitation of a Synchronous Motor | G2-Revison of 4th Practical |
|  | 51 | V-Curves |  |
|  | 52 | Concept of Synchronous Condenser |  |
| 14 | 53 | Concept and cause of Hunting and its prevention | G1-Revison of 5th & 6th Practical |
|  | 54 | Specification ,ratings and cooling of Synchronous Machines | G2-Revison of 5th & 6th Practical |
|  | 55 | Application of Synchronous Machines |  |
|  | 56 | Introduction of Special Purpose machines |  |
| 15 | 57 | Construction, working principle and applications of Linear Induction Motors | G1-Revison of 7th Practical |
|  | 58 | Construction, working principle and applications of Stepper motors |  |
|  | 59 | Construction, working principle and applications of AC Servomotors | G2-Revison of 7th Practical |
|  | 60 | Construction, working principle and applications of Submersible Motors |  |