| LESSON PLAN |  |  |  |
| --- | --- | --- | --- |
| Faculty |  |  | : SH. PARDEEP KUMAR |
| Discipline |  |  | : ELECTRICAL ENGINEERING |
| Semester |  |  | : 5th |
| Subject |  |  | : POWER-I |
| Duration |  |  | : WEEKS(From Sept.2022) |
| Work Load (Lecture) per week (in hours) |  |  | : Theory- 04 |
| Week |  | Theory |  |
|  |  | Lecture Day | Topic |
| 1st |  | 1st | Introduction to the subject and the marks distribution |
|  |  | 2nd | Main resources of energy, conventional and non-conventional |
|  |  | 3rd | Different types of power stations, thermal, hydro, gas, diesel and nuclear power Stations |
|  |  | 4th | Flow diagrams and brief details of their operation, comparison of the generating stations on the basis of running cost, site, starting, maintenance etc. |
| 2nd |  | 1st | Importance of non-conventional sources of energy in the present scenario. |
|  |  | 2nd | Brief details of solar energy |
|  |  | 3rd | Brief details of bio-energy |
|  |  | 4th | Brief details of Wind energy |
| 3rd |  | 1st | Test Of Chapter No. 01 |
|  |  | 2nd | Fixed and running cost, load estimation, load curves, demand factor |
|  |  | 3rd | Load factor, diversity factor, power factor and their effect on cost of generation |
|  |  | 4th | Numerical problems |
| 4th |  | 1st | Base load and peak load power stations advantages |
|  |  | 2nd | Inter-connection of power stations and its advantages |
|  |  | 3rd | Concept of regional and national grid |
|  |  | 4th | Test Of Chapter No. 02 |
| 5th |  | 1st | Quiz No. 01 for chapter 01 and 02 and assessment of assignment No. 01 |
|  |  | 2nd | Layout of transmission system, selection of voltage for H.T and L.T lines, advantages of high voltage for Transmission of power in both AC and DC |
|  |  | 3rd | Comparison of different systems: AC versus DC for power transmission |
|  |  | 4th | Conductor material and sizes from standard tables |
| 6th |  | 1st | Constructional features of transmission lines: Types of supports, types of insulators |
|  |  | 2nd | Types of conductors, Selection of insulators, conductors, earth wire and their accessories |
|  |  | 3rd | Transposition of conductors and string efficiency of suspension type insulators, Bundle Conductors. |
|  |  | 4th | Mechanical features of line: Importance of sag, calculation of sag, |
| 7th |  | 1st | Effects of wind and ice related problems |
|  |  | 2nd | Indian electricity rules pertaining to clearance |
|  |  | 3rd | Electrical features of line: Calculation of resistance without derivation in a.c. transmission line |
|  | 4th |  | Electrical features of line: Calculation of inductance without derivation in a.c. transmission line |
| 8th | 1st |  | Electrical features of line: Calculation of capacitance |
|  | 2nd |  | Concept of voltage regulation |
|  | 3rd |  | Concept of corona, Effects of corona and remedial measures |
|  | 4th |  | Transmission Losses |
| 9th | 1st |  | Test Of Chapter No. 03 |
|  | 2nd |  | Lay out of HT and LT distribution system, constructional feature of distribution lines and their erection. LT feeders and service mains |
|  | 3rd |  | Simple problems on AC radial distribution system, determination of size of conductor; Preparation of estimates of HT lines (OH and Cables). |
|  | 4th |  | Preparation of estimates of LT lines (OH and Cables). |
| 10th | 1st |  | Constructional features of LT (400 V), HT (II kV) underground cables |
|  | 2nd |  | Advantages and Disadvantages of underground system with respect to overhead system |
|  | 3rd |  | Calculation of losses in distribution system |
|  | 4th |  | Faults in underground cables, determine fault location by Murray Loop Test |
| 11th | 1st |  | Test Of Chapter No. 04 |
|  | 2nd |  | Quiz No. 02 for chapter 03 and 04 and assessment of assignment No. 02 |
|  | 3rd |  | Brief idea about substations; out door grid sub-station 220/132 KV outdoor substations |
|  | 4th |  | Brief idea about substations; out door grid sub-station 66/33 KV outdoor substations |
| 12th | 1st |  | Pole mounted substations and indoor substation |
|  | 2nd |  | Layout of 33/11 distribution substation and various auxiliaries and equipment associated with it. |
|  | 3rd |  | Layout of 11 kV/400V distribution substation and various auxiliaries and equipment associated with it. |
|  | 4th |  | Test Of Chapter No. 05 |
| 13th | 1st |  | Concept of power factor |
|  | 2nd |  | Reasons and disadvantages of low power factor |
|  | 3rd |  | Methods for improvement of power factor using capacitor banks |
|  | 4th |  | Methods for improvement of power factor using VAR Static Compensator (SVC) |
| 14th | 1st |  | Test Of Chapter No. 06 |
|  | 2nd |  | Quiz No. 03 for chapter 05 and 06 and Assessment of assignment No. 03 |
|  | 3rd |  | Revision test of Chapter No. 01 |
|  | 4th |  | Revision test of Chapter No. 02 |
| 15th | 1st |  | Revision test of Chapter No. 03 |
|  | 2nd |  | Revision test of Chapter No. 04 |
|  | 3rd |  | Revision test of Chapter No. 05 |
|  | 4th |  | Revision test of Chapter No. 06 |