## EEDD-II
LESSON PLAN
Name of the Faculty | : Mr. PARDEEP KUMAR
Discipline | : ELECTRICAL ENGINEERING
Semester | : 4th
Subject | : ELECTRICAL ENGINEERING DESIGN AND DRAWING-II
Lesson Plan Duration | : 15 WEEKS(From06March 2023to 23 June 2023)
Work Load (Lecture/Practical) per week (in hours) | :06
Week | Practical
| Practical Day(3Hr Duration) | Topic
1st | 1st | Introduction to the Subject
Introduction of the nature of the examination and marks distribution of different topics
| 2nd | Design of circuit drawing of schematic diagram and power wiring diagram of DOL starting of 3-phase induction motor
2nd | 1st | 3-phase induction motor getting supply from selected feeder
| 2nd | Continued
3rd | 1st | Forwarding/reversing of a 3-phase induction motor
| 2nd | Continued
4th | 1st | Two speed control of 3-phase induction motor
| 2nd | Test 1, Checking assignment 1
5th | 1st | Limit switch control of a 3-phase induction motor
| 2nd | Continued
6th | 1st | Sequential operating of two motors using time delay relay
| 2nd | Manually generated star delta starter for 3-phase induction motor
7th | 1st | Automatic star delta starter for 3-phase Induction Motor
| 2nd | Test 2, Checking assignment 2
8th | 1st | Concept and purpose of earthing
| 2nd | Different types of earthing, drawings of plate and pipe earthing
9th | 1st | Procedure of earthing, test of materials required and costing
| 2nd | Method of reducing earth resistance
10th | 1st | Earthing layout of distribution transformer
| 2nd | Relevant IS specifications of earth electrode for earthing a transformer, a high building
11th | 1st | Substation earthing layout and earthing materials
| 2nd | Test 3 checking of Assignment 3
12th | 1st | Key diagram of 11kV
| 2nd | Key diagram of 33kVsub-stations
13th | 1st | Key diagram of 132 kV sub-stations
| 2nd | Key diagram of 66kV sub-stations
14th | 1st | Circuits using CAD
| 2nd | Test 4 checking of Assignment 4
15th | 1st | Revision Test
| 2nd | Revision Test
16th | 1st | Revision unit 1
| 2nd | Revision unit 2
| 3rd | Revision unit 3
| 4th | Revision unit 4

## E MC-I
LESSON PLAN
Name of the Faculty |  | : Mr. PARDEEP KUMAR
Discipline |  | : ELECTRICAL ENGINEERING
Semester |  | : 4th
Subject |  | ELECTRICAL MACHINES - I
Lesson Plan Duration |  | : 15 WEEKS(From06March 2023to 23 June 2023)
Work Load (Lecture/ Practical) per week (in hours) |  | : Theory- 04
Practical :2
Week | Theory
| Lecture Day | Topic | Practical day | Topic
1st | 1st | (a) Introduction to the Subject; (b) Introduction of the nature of the examination and marks distribution of different topics | 1st | To measure the angular displacement of rotor of the three phase synchronous machine with respect to the stator on application of DC to the field winding and simultaneously to each phase-winding in sequence
| 2nd | Definition of motor and generator
| 3rd | Torque development due to alignment of two fields and the concept of torque angle
| 4th | Electro-magnetically induced emf
2nd | 1st | Elementary concept of an electrical machine | 2nd | Continued
| 2nd | Comparison of generator and motor
| 3rd | Generalised theory of electrical machines
| 4th | Test of chapter 01
3rd | 1st | Main constructional features, Types of armature winding | 3rd | Speed control of DC shunt motor (i) Armature control method (ii) Field control method
| 2nd | Function of the commutator for motoring and generation action
| 3rd | Factors determining induced emf
| 4th | Factors determining the electromagnetic torque
4th | 1st | Various types of DC generators | 4th | Continued
| 2nd | Significance of back e.m.f., the relation between back emf and Terminal voltage
| 3rd | Armature Reaction
| 4th | Methods to improve commutation
5th | 1st | Performance and characteristics of different types of DC motors | 5th | Quiz No. 01
| 2nd | Speed control of dc shunt/series motors
| 3rd | Need of starter, three point dc shunt motor starter and 4 point starter
| 4th | Electric Braking
6th | 1st | Applications of DC motors | 6th | Study of DC series motor with starter (to operate the motor on no load for a moment)
| 2nd | Faults in dc machines and their retrospective
| 3rd | Losses in a DC machine
| 4th | Determination of losses by Swinburne’s test
7th | 1st | Rating and Specifications of DC machines | 7th | Determine efficiency of DC motor by Swinburne’s Test at (i) rated capacity (ii) half full load
| 2nd | Test of chapter 02
| 3rd | Introduction : Single phase transformer
| 4th | Constructional features of a transformer and parts of transformer
8th | 1st | Working principle of a transformer | 8th | To perform open circuit and short circuit test for determining: (i) equivalent circuit (ii) the regulation and (iii) efficiency of a transformer from the data obtained from open circuit and short circuit test at full load
| 2nd | EMF equation
| 3rd | Transformer on no-load and its phasor diagram
| 4th | Transformer – neglecting voltage drop in the windings – Ampere turn balance – its phasor diagram
9th | 1st | Mutual and leakage fluxes, leakage reactance | 9th | Quiz No. 02
| 2nd | Transformer on load, voltage drops and its phasor diagram
| 3rd | Equivalent circuit diagram
| 4th | Relation between induced emf and terminal voltage, voltage regulation of a transformer- mathematical relation
10th | 1st | Losses in a transformer | 10th | To find the efficiency and regulation of single phase transformer by actually loading it.
| 2nd | Open circuit and short circuit test. Calculation of efficiency, condition for maximum efficiency-maintenance of Transformer, scheduled Maintenance
| 3rd | Auto transformer construction, working and applications
| 4th | Different types of transformers including dry type transformer.
11th | 1st | Rating and Specifications of single phase transformer | 11th | Finding the voltage and current relationships of primary and secondary of a three phase transformer under balanced load in various configurations conditions such as (a) Star-star (b) Star-delta (c) Delta-star (d) Delta - Delta configuring conditions.
| 2nd | Test of chapter 03
| 3rd | Construction of three phase transformers and accessories of transformers such as Conservator, breather, Buchholtz Relay, Tap Changer (off load and on load) (Brief idea
| 4th | Continued
12th | 1st | Types of three phase transformer i.e. delta-delta, delta-star, star-delta and star-star | 12th | Checking the polarity of the windings of a three phase transformer and connecting the windings in various configurations
| 2nd | Continued
| 3rd | Star delta connections (relationship between phase and line voltage, phase and line current)
| 4th | Continued
13th | 1st | Conditions for parallel operation (only conditions are to be studied) | 13th | Quiz No. 03
| 2nd | Continued
| 3rd | On load tap changer
| 4th | Continued
14th | 1st | Difference between power and distribution transformer | 14th | Internal assessment
| 2nd | Continued
| 3rd | Cooling of transformer
| 4th | Continued
15th | 1st | Rating and Specifications of three phase transformers | 15th | Internal assessment
| 2nd | Continued
| 3rd | Test of chapter 4
| 4th | Revision test
16th | 1st | Revision unit 1 | 16th | Internal assessment
| 2nd | Revision unit 2
| 3rd | Revision unit 3
| 4th | Revision unit 4

## EMMI
LESSON PLAN
Name of the Faculty |  | : Sh. SOHAN SHARMA
Discipline |  | : ELECTRICAL ENGINEERING
Semester |  | : 4th
Subject |  | EMII
Lesson Plan Duration |  | : 15 WEEKS(From06March 2023to 23 June 2023)
Work Load (Lecture/ Practical) per week (in hours) |  | : Theory- 04
Practical :2
Week | Theory
| Lecture Day | Topic | Practical day | Topic
1st | 1st | (a) Introduction to the Subject; (b) Introduction of the nature of the examination and marks distribution of different topics | 1st | Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance
| 2nd | Concept of measurement and instruments
| 3rd | Concept of measurement of electrical quantities and instruments for their measurements, sources of error.
| 4th | Types of electrical measuring instruments – indicating, integrating and recording type instruments
2nd | 1st | Essentials of indicating instruments – deflecting, controlling and damping torque | 2nd | Measurement of pressure by using LVDT
| 2nd | Test of chapter 1
| 3rd | Concept of ammeter and voltmeters and difference between them
| 4th | Construction and working principles of moving Iron and moving coil instruments
3rd | 1st | Merits and demerits, sources of error and application of these instruments | 3rd | To measure the value of earth resistance using earth tester
| 2nd | Test of chapter 2
| 3rd | Construction, working principle, merits and demerits of dynamometer type wattmeter, Digital wattmeters.
| 4th | Continued
4th | 1st | Test of chapter 3 | 4th | To measure power, power factor in a single-phase circuit, using wattmeter and power factor meter and to verify results with calculations.
| 2nd | Energymeter : Induction Type
| 3rd | Construction, working principle, merits and demerits of single-phase and three-phase energy meters
| 4th | Errors and their compensation
5th | 1st | Simple numerical problems | 5th | Quiz no. 01
| 2nd | Construction and working principle of maximum demand indicators
| 3rd | Digital energy meter (diagram, construction and application)
| 4th | Test of chapter 4
6th | 1st | Construction, working principle and application of Meggar, Earth tester(analog and digital) Multimeter | 6th | Measurement of power and power factor of a three-phase balanced load by two wattmeter method.
| 2nd | Frequency meter (dynamometer type) single phase power factor meter (Electrodynamometer type)
| 3rd | Working principle of synchroscope and phase sequence indicator
| 4th | Tong tester (Clamp-on meter)
7th | 1st | Instrument Transformers: Construction, working and applications : CT | 7th | Measurement of voltage and frequency of a sinusoidal signal using CRO and draw wave shape of signal.
| 2nd | Continued
| 3rd | Instrument Transformers: Construction, working and applications : PT
| 4th | Continued
8th | 1st | Test of chapter 5 | 8th | Measurement of power in a 3 phase circuit using CT, PT and 3-phase wattmeter.
| 2nd | Cathode Ray Oscilloscope: Block diagram
| 3rd | Working principle of CRO and its various controls.
| 4th | Continued
9th | 1st | Applications of CRO. | 9th | Use of LCR meter for measuring inductance, capacitance and resistance
| 2nd | Digital multi-meter (only block diagram) and Applications
| 3rd | Continued
| 4th | Continued
10th | 1st | Test of chapter 6 | 10th | Quiz no. 02
| 2nd | Study of LCR meters
| 3rd | Continued
| 4th | Applications of LCR
11th | 1st | Continued | 11th | To record all electrical quantities from the meters installed in the institution premises
| 2nd | Test of chapter 7
| 3rd | Two wattmeter method in balanced circuits
| 4th | Continued
12th | 1st | Two wattmeter method in unbalanced circuits | 12th | To measure Energy at different Loads using Single Phase Digital Energy meter
| 2nd | simple problems
| 3rd | Three wattmeter method
| 4th | Continued
13th | 1st | Quiz | 13th | Measurement of temperature by using thermister/Thermal Imager
| 2nd | Introduction, Types of Transducers
| 3rd | 1&3 phase Transducers
| 4th | Basic concept of pressure measurement
14th | 1st | Flow measurement, | 14th | Calibration of single phase and three-phase energy meter
| 2nd | level measurement
| 3rd | displacement measurement using transducers
| 4th | Different types of thermometers, thermocouple, resistance
15th | 1st | Continued | 15th | Quiz no. 03
| 2nd | temperature detector and their construction
| 3rd | principle and working TD
| 4th | Thermal Imager Camera
16th | 1st | Revision unit 1,2 | 16th
| 2nd | Revision unit 3, 4
| 3rd | Revision unit 5,6
| 4th | Revision unit 7,8

## IMEE
LESSON PLAN
Name of the Faculty |  | :Mr. SOHAN SHARMA
Discipline |  | : ELECTRICAL ENGINEERING
Semester |  | : 4th
Subject |  | INSTALLATION AND MAINTENANCE OF ELECTRICAL EQUIPMENT
Lesson Plan Duration |  | : 15 WEEKS(From06March 2023to 23 June 2023)
Work Load (Lecture/ Practical) per week (in hours) |  | : Theory- 04
Week | Theory
| Lecture Day | Topic
1st | 1st | (a) Introduction to the Subject; (b) Introduction of the nature of the examination and marks distribution of different topics
| 2nd | Tools, accessories and instruments required for installation, maintenance and repair work.
| 3rd | Knowledge of Indian Electricity rules, safety codes
| 4th | causes and prevention of accidents
2nd | 1st | Artificial respiration of an electrocuted person, workmen's safety devices
| 2nd | Test of Chapter-01
| 3rd | Erection of steel structures, connecting jumpers, tee-off points, joints and dead ends; crossing of roads, streets, power/telecommunication lines and railway line crossings, clearances;
| 4th | Continued
3rd | 1st | Earthing of transmission lines and guarding, spacing and configuration of conductors: Arrangement for suspension and strain insulators, bird guards, anti-climbing devices and danger plates;
| 2nd | Continued
| 3rd | sizes of conductor, earthwire and guy wires.
| 4th | Laying of service lines, earthing, provision of service fuses, installation of energy meters
4th | 1st | Test of Chapter 2.1
| 2nd | Inspection, storage, transportation and handling of cables
| 3rd | Cable handling equipment, cable laying depths and clearances from other services such as: water, sewerage, gas, heating and other mains, and also a series of power and telecommunication cables and coordination with these services
| 4th | Continued
5th | 1st | excavation of trenches, direct cable laying, including laying of cable from the drum, laying cable in the trench, taking all measurements and making drawings, back filling of trenches with earth or sand, laying protective layer of bricks etc,) laying of cables into pipes and conduits and within buildings.
| 2nd | Continued
| 3rd | Test of Chapter 2.2
| 4th | Elementary idea regarding, inspection and handling of transformers
6th | 1st | Pole mounted substations, plinth mounted substations, grid substation,
| 2nd | Busbars, isolators, voltage and current transformers, lightning arrestors, control and relay panels, HT/LT circuit breakers, LT switches
| 3rd | Installation of power/distribution transformers, dehydration. Earthing system, fencing of yard, equipment foundations and trenches etc..
| 4th | Continued
7th | 1st | Test of Chapter 2.3
| 2nd | Technical Quiz No. 01and evaluation of Assignment no. 01
| 3rd | Testing of various electrical equipment such as electrical motor, transformers, cables, and generators
| 4th | Motor control centres, medium voltage distribution panels, power control centres, motor control centres
8th | 1st | Lighting arrangement, storage, pre-installation checks, connecting and starting, pre-commissioning checks, drying out
| 2nd | Continued
| 3rd | Test of Chapter3.1
| 4th | Authorized persons, danger notice, caution notice,
9th | 1st | Permit to work, arranging of shutdowns personally, temporary earthing, cancellation of permit and restoration of supply.
| 2nd | Patrolling and visual inspection of lines - points to be noted during patrolling from ground; special inspections and night inspections
| 3rd | Continued
| 4th | Location of faults using Meggar, effect of open or loose neutral connections
10th | 1st | Provision of proper fuses on service lines and their effect on system, causes of dim and flickering lights.
| 2nd | Continued
| 3rd | Test of Chapter 3.2
| 4th | Transformer maintenance and points to be attended to in respect of various items of equipment
11th | 1st | Continued
| 2nd | Checking of insulation resistance, transformer oil level and BDV test of oil, measurement of earth resistance
| 3rd | Continued
| 4th | Test of Chapter 3.3
12th | 1st | Checking and maintenance of busbars
| 2nd | Isolating switches, HT/LT circuit breakers, LT switches. Power transformers
| 3rd | Continued
| 4th | Test of Chapter 3.4
13th | 1st | Over hauling of motors
| 2nd | Preventive maintenance
| 3rd | Trouble shooting of electric motors
| 4th | continued
14th | 1st | Test of Chapter 3.5
| 2nd | Technical quiz 02 and evaluation of assignment no. 02
| 3rd | Revision Test Chapter 01
| 4th | Revision Test Chapter 2.1 and 2.2
15th | 1st | Revision Test Chapter 2.3
| 2nd | Revision Test Chapter 3.1 and 3.2
| 3rd | Revision Test Chapter 3.3 and 3.4
| 4th | Revision Test Chapter 3.5
16th | 1st | Revision unit 1
| 2nd | Revision unit 2
| 3rd | Revision unit 3
| 4th | Revision unit 3

## DE
LESSON PLAN
Name of the Faculty |  | : Sh. DEEPENDER GILL
Discipline |  | : ELECTRICAL ENGINEERING
Semester |  | : 4th
Subject |  | : DIGITAL ELECTRONICS
Lesson Plan Duration |  | : 15 WEEKS(From06March 2023to 23 June 2023)
Work Load (Lecture/Practical) per week (in hours) |  | Theory: 4, Lab : 02
Week | Theory |  | Practical
| Lecture Day | Topic | Practical Day | Topic
1st | 1st | Introduction to the Subject and marks distribution of different topics | 1st | Introduction to the Subject and marks distribution of different topics
| 2nd | Number Systems Basics
| 3rd | Decimal to binary number systems and their inter-conversion
| 4th | Decimal to octal number systems and their inter-conversion
2nd | 1st | Decimal to hexadecimal number systems and their inter-conversion | 2nd | Verification and interpretation of truth table for AND, OR, NOT, NAND, NOR, X-OR gates
| 2nd | Binary addition, subtraction and multiplication
| 3rd | Hexadecimal addition, subtraction and multiplication
| 4th | 1’s and 2’s complement methods subtraction
3rd | 1st | 1’s and 2’s complement methods of addition | 3rd | Continued
| 2nd | Introduction to Gates and Gate IC
| 3rd | Definition, symbol and truth tables for inverter, OR, AND Gates
| 4th | Definition, symbol and truth tables for NAND,NOR,XOR,XNOR
4th | 1st | Universal Gate and Equivalent Circuit | 4th | Construction of Half Adder using gates
| 2nd | Boolean Algebra
| 3rd | Boolean Relations and their applications
| 4th | Boolean Relations and their applications
5th | 1st | Solving Boolean Problems | 5th | Continued
| 2nd | Contd
| 3rd | DeMorgan’s Theorems
| 4th | K-Map Rules
6th | 1st | 3 Variable K-Map | 6th | Construction of Full Adder using gates
| 2nd | Contd
| 3rd | 4 Variable K-Map
| 4th | 4 Variable K-Map
7th | 1st | Combinational Circuits | 7th | Continued
| 2nd | Sequential Circuits
| 3rd | Half adder
| 4th | Full adder
8th | 1st | Encoder | 8th | To verify the truth table for JK flipflop
| 2nd | Decoder
| 3rd | Multiplexer/Demultiplexer
| 4th | Contd
9th | 1st | Display Devices (LED, LCD) | 9th | Continued
| 2nd | Contd
| 3rd | 7-segment display
| 4th | Revision
10th | 1st | Flip-Flops, R-S Flip-Flop | 10th | Construction and testing of any counter
| 2nd | J-K Flip-Flop, Master Slave JK
| 3rd | D-Type Flip-Flop, T-Type Flip-Flop
| 4th | Applications of Flip-Flops
11th | 1st | Introduction of Registers | 11th | Continued
| 2nd | Introduction of Shift Registers
| 3rd | Introduction to Counters
| 4th | Types of Counters Sync and Async Counters
12th | 1st | Decade and Johnson Counter | 12th | Verification of operation of a 8-bit D/A Converter
| 2nd | A/D and D/A Converters
| 3rd | Binary weighted D/A converters
| 4th | R-2R Ladder D/A Converter
13th | 1st | A/D converter (Counter ramp) | 13th | Continued
| 2nd | Contd
| 3rd | Successive approximation method of A/D Conversion
| 4th | Semi-conductor Memories
14th | 1st | Contd | 14th | Quiz
| 2nd | Types of Memories
| 3rd | Contd
| 4th | Merits and demerits of Memories
15th | 1st | Applications of Memory | 15th | Internal assessment
| 2nd | Revision
| 3rd | Revision
| 4th | Revision
16th | 1st | Revision | 16th
| 2nd | Revision
| 3rd | Revision
| 4th | Revision